## Sheet1
| Location | Building Type | Added Tech | Configuration | ASHP-SH Size [ton] | ASHP-WH Size [ton] | LCC | LCC-BAU | NPV | LCCC | NPV-Fuel | NPV-Elec Bill | CO2 Emission Saving [kTonne] | Avoided Health Damages [T$] | Avoided Climate Damages [T$] | ASHP-SH Annual Elec Consumption | ASHP-WH Annual Elec Consumption | ASHP-SH Annual Thermal Production-Heat | ASHP-SH Annual Thermal Production-Cool | ASHP-WH Annual Thermal Production | Electric Heater Size [mmbtu] | Electric Heater Annual Thermal Production | Electric Heater Annual Elec Consumption | Existing Chiller Annual Elec Consumption | Existing Chiller Annual Cooling Production | Existing Boiler Annual Fuel Consumption | Existing Boiler Annual Thermal Production | Payback Years
0 | Minneapolis | RetailStore | None | 4 | 222.007 | 0 | 1418801.8581 | 809892.3286 | -608909.5295 | 499514.8163 | 172976.3093 | -282371.0224 | 1.4144 | -58.096 | 55.84 | 266569.424 | 0 | 1495.848 | 35818.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | Minneapolis | LargeHotel | None | 2 | 448.635 | 304.215 | 6151072.6527 | 4092054.5673 | -2059018.0854 | 1631684.8793 | 1288068.9633 | -1715402.1694 | 12.1478 | -196.9703 | 479.5756 | 760113.816 | 696125.642 | 5087.957 | 0 | 6050.887 | 0 | 0 | 0 | 445049 | 593508.341 | 0 | 0 | 0
2 | Miami | LargeOffice | None | 3 | 0 | 1.51 | 10142036.3174 | 10143371.3791 | 1335.0617 | 3396.8543 | 13425.4076 | -7979.2687 | 0.12564 | 3.6702 | 4.9601 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 9.3
3 | LosAngeles | LargeOffice | None | 3 | 0 | 2.486 | 12056600.4235 | 12059061.6775 | 2461.254 | 5594.3735 | 27287.7229 | -18055.8218 | 0.22058 | 10.8936 | 8.7081 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 8.97
4 | Chicago | RetailStore | None | 3 | 0 | 0 | 707297.1534 | 707297.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0
5 | Minneapolis | MidriseApartment | TES | 4 | 135.508 | 10.536 | 944288.1521 | 514257.3529 | -430030.7992 | 326443.5901 | 197536.3548 | -301123.5639 | 1.66 | -55.225 | 65.5338 | 249056.763 | 29064.035 | 1451.319 | 28138.931 | 256.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | LosAngeles | LargeHotel | None | 3 | 0 | 54.358 | 5072681.8009 | 5201256.357 | 128574.5561 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4
7 | Miami | MidriseApartment | None | 1 | 0 | 1.215 | 557106.4007 | 560400.1927 | 3293.792 | 2732.8822 | 16312.4932 | -9711.203 | 0.14837 | 4.4688 | 5.8571 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 6.01
8 | LosAngeles | SecondarySchool | None | 1 | 0 | 5.149 | 4830689.568 | 4832776.0348 | 2086.4668 | 11584.1877 | 46855.7089 | -30749.3617 | 0.37914 | 18.7533 | 14.9678 | 0 | 17768.71 | 0 | 0 | 238.171 | 0 | 0 | 0 | 351337 | 468535.914 | 1253.2881 | 1002.6301 | 10.83
9 | Chicago | LargeHotel | None | 3 | 0 | 0 | 3806060.5776 | 3806060.5776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 0
10 | Miami | MidriseApartment | TES | 1 | 0 | 1.215 | 557106.4007 | 560400.1927 | 3293.792 | 2732.8822 | 16312.4932 | -9711.203 | 0.14837 | 4.4688 | 5.8571 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 6.01
11 | LosAngeles | MidriseApartment | PVB | 4 | 52.167 | 4.227 | 538370.9581 | 508534.4801 | -29836.478 | 186449.7829 | 78135.9966 | 92333.0112 | 0.63233 | 43.7092 | 24.9632 | 45937.314 | 14056.916 | 212.228 | 28665.653 | 184.972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Minneapolis | MidriseApartment | None | 3 | 0 | 0 | 514257.3529 | 514257.3529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0
13 | Chicago | LargeHotel | PVB | 4 | 443.714 | 291.741 | 5287495.5015 | 3806060.5776 | -1481434.9239 | 2054368.4371 | 1171798.2038 | -493557.5491 | 10.0082 | 919.29 | 395.1071 | 996353.188 | 520385.375 | 4083.878 | 626094.363 | 5604.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Miami | SecondarySchool | PVB | 3 | 0 | 3.53 | 4680496.14 | 5199508.4354 | 519012.2954 | 1286236.0589 | 24607.9925 | 2075414.3751 | 5.1119 | 300.8584 | 201.8092 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 8.82
15 | Miami | SecondarySchool | None | 1 | 0 | 3.53 | 5199182.0593 | 5199508.4354 | 326.3761 | 7943.5668 | 24607.9925 | -14667.8344 | 0.23218 | 6.6974 | 9.1664 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 12.23
16 | Miami | SecondarySchool | PVB | 2 | 371.038 | 7.767 | 5509299.7279 | 5199508.4354 | -309791.2925 | 2131149.6142 | 52097.0292 | 2062854.7485 | 5.3857 | 309.1728 | 212.6215 | 11460.344 | 13580.061 | 162.815 | 0 | 200.083 | 0 | 0 | 0 | 1735906 | 2314969.117 | 0 | 0 | 14.68
17 | Chicago | SecondarySchool | PVB | 4 | 1443.417 | 28.904 | 7040441.4398 | 3729937.8131 | -3310503.6267 | 3559875.8566 | 911419.7956 | -604021.2473 | 6.7881 | 489.6055 | 267.9863 | 1171338.399 | 33845.052 | 7169.738 | 449397.711 | 365.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Chicago | LargeOffice | TES | 2 | 1544.565 | 13.162 | 11265864.18 | 7753964.586 | -3511899.594 | 3502194.5534 | 768856.4228 | -778561.4634 | 3.871 | 206.7437 | 152.8204 | 685848.012 | 17302.169 | 6164.823 | 0 | 191.767 | 0 | 0 | 0 | 533117 | 710954.044 | 0 | 0 | 0
19 | Chicago | LargeOffice | TES | 3 | 0 | 0 | 7753964.586 | 7753964.586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0
20 | Minneapolis | LargeOffice | PVB | 1 | 0 | 0 | 8047951.4138 | 8398296.7812 | 350345.3674 | 1520827.234 | 0 | 2219887.9708 | 4.2076 | 1393.3994 | 166.1097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 9.96
21 | Miami | LargeHotel | PVB | 4 | 488.412 | 79.56 | 5957558.7713 | 4792058.4594 | -1165500.3119 | 2022513.1747 | 449176.0356 | 582294.24 | 4.6921 | 244.9863 | 185.2375 | 1904867.52 | 202145.159 | 158.456 | 1956649.57 | 2970.599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Minneapolis | SecondarySchool | PVB | 3 | 0 | 0 | 4004449.7169 | 4097278.3488 | 92828.6319 | 461141.0041 | 0 | 659706.1404 | 1.2561 | 414.2365 | 49.5887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 10.18
23 | Minneapolis | SecondarySchool | PVB | 2 | 1708.082 | 32.699 | 8494784.378 | 4097278.3488 | -4397506.0292 | 4431370.9502 | 1152201.7337 | -998805.8487 | 11.6966 | 182.0584 | 461.7634 | 1432197.975 | 44586.963 | 9570.659 | 0 | 393.229 | 0 | 0 | 0 | 262353 | 349868.652 | 0 | 0 | 0
24 | Chicago | SecondarySchool | None | 3 | 0 | 0 | 3729937.8131 | 3729937.8131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0
25 | Miami | LargeHotel | None | 2 | 64.455 | 79.56 | 4919794.9997 | 4792058.4594 | -127736.5403 | 307760.6393 | 449176.0356 | -269151.9365 | 3.9547 | 123.8864 | 156.124 | 10924.8 | 202145.159 | 158.456 | 0 | 2970.599 | 0 | 0 | 0 | 1467216 | 1956649.57 | 0 | 0 | 0
26 | Chicago | RetailStore | TES | 3 | 0 | 0 | 707297.1534 | 707297.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0
27 | Chicago | RetailStore | TES | 2 | 168.974 | 0 | 1086619.7601 | 707297.1534 | -379322.6067 | 380190.6309 | 142519.9586 | -141651.9344 | 0.79769 | 41.244 | 31.4919 | 127905.065 | 0 | 1178.296 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 0 | 0 | 0
28 | Minneapolis | RetailStore | PVB | 1 | 0 | 0 | 760749.8565 | 809892.3286 | 49142.4721 | 153833.9213 | 0 | 238249.4682 | 0.45135 | 149.4873 | 17.8189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 9.33
29 | Chicago | MidriseApartment | PVB | 1 | 0 | 0 | 458495.3511 | 465258.0479 | 6762.6968 | 32349.1178 | 0 | 46529.2478 | 0.20861 | 36.5055 | 8.2355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 10.12
30 | LosAngeles | MidriseApartment | None | 3 | 0 | 1.922 | 502733.9033 | 508534.4801 | 5800.5768 | 4323.4149 | 31976.3695 | -20943.3362 | 0.25637 | 12.6418 | 10.1208 | 0 | 12226.826 | 0 | 0 | 162.551 | 0 | 0 | 0 | 22912 | 28665.653 | 293.3127 | 234.6501 | 5.64
31 | LosAngeles | LargeHotel | TES | 1 | 0 | 54.358 | 5072681.8009 | 5201256.357 | 128574.5561 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4
32 | LosAngeles | RetailStore | None | 1 | 12.039 | 0 | 915279.9271 | 889596.1339 | -25683.7932 | 27088.1805 | 20676.1151 | -13576.1639 | 0.16389 | 8.1741 | 6.4705 | 8613.312 | 0 | 105.106 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 43.7215 | 34.9773 | 0
33 | Chicago | LargeOffice | None | 1 | 0 | 0 | 7753964.586 | 7753964.586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0
34 | Chicago | MidriseApartment | TES | 1 | 0 | 0 | 465258.0479 | 465258.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0
35 | LosAngeles | MidriseApartment | None | 2 | 26.668 | 4.227 | 551046.1305 | 508534.4801 | -42511.6504 | 68649.3035 | 78135.9966 | -51998.3436 | 0.60281 | 30.7554 | 23.7979 | 17982.954 | 14056.916 | 212.228 | 0 | 184.972 | 0 | 0 | 0 | 22912 | 28665.653 | 0 | 0 | 0
36 | LosAngeles | LargeHotel | PVB | 1 | 0 | 54.358 | 4284767.8013 | 5201256.357 | 916488.5557 | 656568.9266 | 804668.9017 | 916607.5321 | 6.6843 | 446.9635 | 263.8868 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 5.4
37 | Miami | RetailStore | None | 1 | 0 | 0 | 804633.7818 | 804633.7818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0
38 | Miami | LargeHotel | TES | 4 | 488.412 | 79.56 | 6412743.9797 | 4792058.4594 | -1620685.5203 | 1261664.6208 | 449176.0356 | -808196.9351 | 1.4657 | 50.7267 | 57.8638 | 1904867.52 | 202145.159 | 158.456 | 1956649.57 | 2970.599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Minneapolis | SecondarySchool | TES | 3 | 0 | 0 | 4097278.3488 | 4097278.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0
40 | Minneapolis | SecondarySchool | TES | 2 | 1708.082 | 32.699 | 8594749.7945 | 4097278.3488 | -4497471.4457 | 3910069.1633 | 1152201.7337 | -1739604.016 | 10.2818 | -283.1134 | 405.909 | 1432197.975 | 44586.963 | 9570.659 | 0 | 393.229 | 0 | 0 | 0 | 262353 | 349868.652 | 0 | 0 | 0
41 | Miami | LargeHotel | None | 3 | 0 | 36.164 | 4725650.6657 | 4792058.4594 | 66407.7937 | 81368.4648 | 409919.4393 | -245034.6382 | 3.6095 | 113.0359 | 142.4986 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.23
42 | Chicago | SecondarySchool | None | 2 | 1443.417 | 28.904 | 7008040.7545 | 3729937.8131 | -3278102.9414 | 3306809.8518 | 911419.7956 | -882712.8852 | 5.58 | 271.6558 | 220.2888 | 763368.034 | 33845.052 | 7169.738 | 0 | 365.49 | 0 | 0 | 0 | 336986 | 449397.711 | 0 | 0 | 0
43 | Chicago | RetailStore | PVB | 3 | 0 | 0 | 681059.0549 | 707297.1534 | 26238.0985 | 133685.3565 | 0 | 190576.6006 | 0.85196 | 149.2842 | 33.6343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 10.22
44 | Chicago | RetailStore | PVB | 2 | 168.974 | 0 | 1057246.9782 | 707297.1534 | -349949.8248 | 526225.8736 | 142519.9586 | 67240.9808 | 1.7335 | 204.9567 | 68.4378 | 127905.065 | 0 | 1178.296 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 0 | 0 | 0
45 | Minneapolis | RetailStore | TES | 1 | 0 | 0 | 809892.3286 | 809892.3286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0
46 | LosAngeles | MidriseApartment | TES | 4 | 52.167 | 4.227 | 618547.985 | 508534.4801 | -110013.5049 | 126021.9032 | 78135.9966 | -62127.5983 | 0.60064 | 29.7211 | 23.7121 | 45937.314 | 14056.916 | 212.228 | 28665.653 | 184.972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | Chicago | LargeHotel | TES | 4 | 443.714 | 291.741 | 5383832.9882 | 3806060.5776 | -1577772.4106 | 1595099.9824 | 1171798.2038 | -1154470.6322 | 7.0449 | 400.9748 | 278.1206 | 996353.188 | 520385.375 | 4083.878 | 626094.363 | 5604.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | Miami | MidriseApartment | PVB | 1 | 0 | 1.215 | 503700.6884 | 560400.1927 | 56699.5043 | 96396.7125 | 16312.4932 | 158834.8207 | 0.53956 | 28.0765 | 21.3008 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 7.86
49 | Miami | SecondarySchool | TES | 3 | 0 | 3.53 | 5199182.0593 | 5199508.4354 | 326.3761 | 7943.5668 | 24607.9925 | -14667.8344 | 0.23218 | 6.6974 | 9.1664 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 12.23
50 | Miami | SecondarySchool | TES | 2 | 371.038 | 7.767 | 6029762.7109 | 5199508.4354 | -830254.2755 | 850721.6125 | 52097.0292 | -31629.6922 | 0.49612 | 14.4511 | 19.5861 | 11460.344 | 13580.061 | 162.815 | 0 | 200.083 | 0 | 0 | 0 | 1735906 | 2314969.117 | 0 | 0 | 0
51 | Chicago | SecondarySchool | TES | 4 | 1443.417 | 28.904 | 7084863.6552 | 3729937.8131 | -3354925.8421 | 3306809.8518 | 911419.7956 | -959535.7859 | 5.1917 | 210.7289 | 204.9607 | 1171338.399 | 33845.052 | 7169.738 | 449397.711 | 365.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | Chicago | LargeOffice | PVB | 2 | 1544.565 | 13.162 | 11109933.8623 | 7753964.586 | -3355969.2763 | 4635304.3243 | 768856.4228 | 770293.01 | 10.8351 | 1420.5462 | 427.7544 | 685848.012 | 17302.169 | 6164.823 | 0 | 191.767 | 0 | 0 | 0 | 533117 | 710954.044 | 0 | 0 | 0
53 | Minneapolis | MidriseApartment | None | 2 | 135.508 | 10.536 | 940359.6165 | 514257.3529 | -426102.2636 | 326443.5901 | 197536.3548 | -297195.0283 | 1.6699 | -52.8915 | 65.9252 | 223230.772 | 29064.035 | 1451.319 | 0 | 256.918 | 0 | 0 | 0 | 22491 | 28138.931 | 0 | 0 | 0
54 | Chicago | LargeOffice | PVB | 3 | 0 | 0 | 7613366.4254 | 7753964.586 | 140598.1606 | 1038539.6456 | 0 | 1417267.9028 | 6.3569 | 1109.7081 | 250.9618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 10.72
55 | Minneapolis | LargeOffice | TES | 1 | 0 | 0 | 8398296.7812 | 8398296.7812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0
56 | Chicago | LargeHotel | None | 2 | 356.817 | 291.741 | 5088760.4441 | 3806060.5776 | -1282699.8665 | 1399580.8998 | 1171798.2038 | -1054917.1706 | 7.693 | 480.9447 | 303.7064 | 435266.626 | 520385.375 | 4083.878 | 0 | 5604.067 | 0 | 0 | 0 | 469484 | 626094.363 | 0 | 0 | 0
57 | Chicago | MidriseApartment | None | 1 | 0 | 0 | 465258.0479 | 465258.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0
58 | LosAngeles | LargeHotel | None | 2 | 61.38 | 119.587 | 5253121.7829 | 5201256.357 | -51865.4259 | 382715.434 | 967535.5565 | -636685.5484 | 7.6415 | 381.0995 | 301.6774 | 46740.664 | 334613.16 | 566.279 | 0 | 4352.139 | 0 | 0 | 0 | 526169 | 701688.332 | 0 | 0 | 0
59 | LosAngeles | LargeOffice | None | 2 | 384.13 | 5.47 | 12847474.4236 | 12059061.6775 | -788412.7461 | 875481.0128 | 258842.9285 | -171774.6618 | 2.0302 | 101.1585 | 80.1496 | 95363.828 | 11067.518 | 1166.519 | 0 | 149.299 | 0 | 0 | 0 | 707617 | 943663.713 | 0 | 0 | 0
60 | Chicago | RetailStore | None | 2 | 168.974 | 0 | 1086619.7601 | 707297.1534 | -379322.6067 | 380190.6309 | 142519.9586 | -141651.9344 | 0.79769 | 41.244 | 31.4919 | 127905.065 | 0 | 1178.296 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 0 | 0 | 0
61 | Miami | LargeOffice | None | 2 | 202.418 | 3.321 | 10592332.5092 | 10143371.3791 | -448961.1301 | 462235.2447 | 34097.6798 | -20823.5652 | 0.31509 | 9.4153 | 12.4392 | 9563.262 | 6922.137 | 135.179 | 0 | 102.343 | 0 | 0 | 0 | 1878642 | 2505318.959 | 0 | 0 | 0
62 | Minneapolis | LargeHotel | None | 3 | 0 | 0 | 4092054.5673 | 4092054.5673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0
63 | Minneapolis | MidriseApartment | PVB | 4 | 135.508 | 10.536 | 929514.6138 | 514257.3529 | -415257.2609 | 375030.3769 | 197536.3548 | -226622.6182 | 1.8018 | -8.4764 | 71.1316 | 249056.763 | 29064.035 | 1451.319 | 28138.931 | 256.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | Miami | LargeHotel | None | 4 | 488.412 | 79.56 | 6412743.9797 | 4792058.4594 | -1620685.5203 | 1261664.6208 | 449176.0356 | -808196.9351 | 1.4657 | 50.7267 | 57.8638 | 1904867.52 | 202145.159 | 158.456 | 1956649.57 | 2970.599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 | LosAngeles | RetailStore | PVB | 1 | 0 | 0 | 634840.819 | 889596.1339 | 254755.3149 | 170201.2155 | 0 | 463982.5147 | 0.09423 | 41.5837 | 3.7204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 175.104 | 140.0833 | 5.17
66 | Miami | LargeHotel | TES | 2 | 64.455 | 79.56 | 4919794.9997 | 4792058.4594 | -127736.5403 | 307760.6393 | 449176.0356 | -269151.9365 | 3.9547 | 123.8864 | 156.124 | 10924.8 | 202145.159 | 158.456 | 0 | 2970.599 | 0 | 0 | 0 | 1467216 | 1956649.57 | 0 | 0 | 0
67 | Miami | LargeHotel | TES | 3 | 0 | 36.164 | 4725650.6657 | 4792058.4594 | 66407.7937 | 81368.4648 | 409919.4393 | -245034.6382 | 3.6095 | 113.0359 | 142.4986 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.23
68 | Minneapolis | SecondarySchool | TES | 4 | 1708.082 | 32.699 | 8667049.2851 | 4097278.3488 | -4569770.9363 | 3910069.1633 | 1152201.7337 | -1811903.5066 | 10.1321 | -326.359 | 400.0002 | 1755927.501 | 44586.963 | 9570.659 | 349868.652 | 393.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | Minneapolis | LargeOffice | None | 1 | 0 | 0 | 8398296.7812 | 8398296.7812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0
70 | LosAngeles | SecondarySchool | TES | 1 | 0 | 5.149 | 4830689.568 | 4832776.0348 | 2086.4668 | 11584.1877 | 46855.7089 | -30749.3617 | 0.37914 | 18.7533 | 14.9678 | 0 | 17768.71 | 0 | 0 | 238.171 | 0 | 0 | 0 | 351337 | 468535.914 | 1253.2881 | 1002.6301 | 10.83
71 | Minneapolis | LargeHotel | PVB | 1 | 0 | 0 | 3982219.803 | 4092054.5673 | 109834.7643 | 346935.5335 | 0 | 536320.2625 | 1.0142 | 335.9378 | 40.0398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 9.35
72 | Miami | RetailStore | PVB | 1 | 0 | 0 | 672986.5969 | 804633.7818 | 131647.1849 | 209613.1861 | 0 | 389323.2528 | 0.90129 | 54.5309 | 35.5815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 7.68
73 | Chicago | RetailStore | PVB | 4 | 168.974 | 0 | 1064610.8205 | 707297.1534 | -357313.6671 | 527094.1192 | 142519.9586 | 60944.467 | 1.7004 | 200.0144 | 67.13 | 166688.33 | 0 | 1178.296 | 42373.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | Minneapolis | RetailStore | None | 2 | 222.007 | 0 | 1411108.2041 | 809892.3286 | -601215.8755 | 499514.8163 | 172976.3093 | -274677.3683 | 1.4307 | -53.5077 | 56.4804 | 233179.132 | 0 | 1495.848 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 0 | 0 | 0
75 | LosAngeles | MidriseApartment | TES | 3 | 0 | 1.922 | 502733.9033 | 508534.4801 | 5800.5768 | 4323.4149 | 31976.3695 | -20943.3362 | 0.25637 | 12.6418 | 10.1208 | 0 | 12226.826 | 0 | 0 | 162.551 | 0 | 0 | 0 | 22912 | 28665.653 | 293.3127 | 234.6501 | 5.64
76 | LosAngeles | MidriseApartment | TES | 2 | 26.668 | 4.227 | 551046.1305 | 508534.4801 | -42511.6504 | 68649.3035 | 78135.9966 | -51998.3436 | 0.60281 | 30.7554 | 23.7979 | 17982.954 | 14056.916 | 212.228 | 0 | 184.972 | 0 | 0 | 0 | 22912 | 28665.653 | 0 | 0 | 0
77 | Minneapolis | LargeHotel | None | 4 | 458.175 | 304.215 | 6278256.0784 | 4092054.5673 | -2186201.5111 | 1653151.7539 | 1288068.9633 | -1821118.7205 | 11.8554 | -261.5307 | 468.0343 | 1294907.705 | 696125.642 | 5087.957 | 593508.341 | 6050.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 | Chicago | LargeHotel | TES | 2 | 356.817 | 291.741 | 5088760.4441 | 3806060.5776 | -1282699.8665 | 1399580.8998 | 1171798.2038 | -1054917.1706 | 7.693 | 480.9447 | 303.7064 | 435266.626 | 520385.375 | 4083.878 | 0 | 5604.067 | 0 | 0 | 0 | 469484 | 626094.363 | 0 | 0 | 0
79 | Chicago | LargeHotel | TES | 3 | 0 | 0 | 3806060.5776 | 3806060.5776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 0
80 | Miami | SecondarySchool | TES | 4 | 1386.062 | 7.767 | 8982369.9072 | 5199508.4354 | -3782861.4718 | 3134526.2347 | 52097.0292 | -700432.2663 | -1.6272 | -82.4297 | -64.2406 | 2276813.637 | 13580.061 | 162.815 | 2314969.117 | 200.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 | Chicago | SecondarySchool | TES | 2 | 1443.417 | 28.904 | 7008040.7545 | 3729937.8131 | -3278102.9414 | 3306809.8518 | 911419.7956 | -882712.8852 | 5.58 | 271.6558 | 220.2888 | 763368.034 | 33845.052 | 7169.738 | 0 | 365.49 | 0 | 0 | 0 | 336986 | 449397.711 | 0 | 0 | 0
82 | Miami | LargeOffice | PVB | 1 | 0 | 1.51 | 8910663.9142 | 10143371.3791 | 1232707.4649 | 2380987.8704 | 13425.4076 | 4146149.644 | 9.7698 | 585.2139 | 385.6978 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 8.2
83 | Chicago | SecondarySchool | TES | 3 | 0 | 0 | 3729937.8131 | 3729937.8131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0
84 | Chicago | LargeOffice | PVB | 4 | 1544.565 | 13.162 | 11225999.4285 | 7753964.586 | -3472034.8425 | 4682745.1964 | 768856.4228 | 712546.1861 | 10.468 | 1374.9721 | 413.2603 | 1329642.139 | 17302.169 | 6164.823 | 710954.044 | 191.767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 | Minneapolis | SecondarySchool | None | 1 | 0 | 0 | 4097278.3488 | 4097278.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0
86 | Minneapolis | MidriseApartment | PVB | 3 | 0 | 0 | 502582.5779 | 514257.3529 | 11674.775 | 36119.5596 | 0 | 56076.3046 | 0.10648 | 35.135 | 4.2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 9.31
87 | Minneapolis | MidriseApartment | PVB | 2 | 135.508 | 10.536 | 925807.9779 | 514257.3529 | -411550.625 | 373567.9918 | 197536.3548 | -224713.6824 | 1.8078 | -7.3979 | 71.3683 | 223230.772 | 29064.035 | 1451.319 | 0 | 256.918 | 0 | 0 | 0 | 22491 | 28138.931 | 0 | 0 | 0
88 | LosAngeles | LargeOffice | PVB | 1 | 0 | 2.486 | 9092141.6787 | 12059061.6775 | 2966919.9988 | 2285677.5036 | 27287.7229 | 5749293.6495 | 1.3846 | 525.3992 | 54.6602 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 5.57
89 | LosAngeles | LargeOffice | TES | 1 | 0 | 2.486 | 12056600.4235 | 12059061.6775 | 2461.254 | 5594.3735 | 27287.7229 | -18055.8218 | 0.22058 | 10.8936 | 8.7081 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 8.97
90 | Minneapolis | MidriseApartment | None | 4 | 135.508 | 10.536 | 944288.1521 | 514257.3529 | -430030.7992 | 326443.5901 | 197536.3548 | -301123.5639 | 1.66 | -55.225 | 65.5338 | 249056.763 | 29064.035 | 1451.319 | 28138.931 | 256.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 | Minneapolis | MidriseApartment | TES | 3 | 0 | 0 | 514257.3529 | 514257.3529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0
92 | Minneapolis | MidriseApartment | TES | 2 | 135.508 | 10.536 | 940359.6165 | 514257.3529 | -426102.2636 | 326443.5901 | 197536.3548 | -297195.0283 | 1.6699 | -52.8915 | 65.9252 | 223230.772 | 29064.035 | 1451.319 | 0 | 256.918 | 0 | 0 | 0 | 22491 | 28138.931 | 0 | 0 | 0
93 | Chicago | LargeHotel | None | 4 | 443.714 | 291.741 | 5383832.9882 | 3806060.5776 | -1577772.4106 | 1595099.9824 | 1171798.2038 | -1154470.6322 | 7.0449 | 400.9748 | 278.1206 | 996353.188 | 520385.375 | 4083.878 | 626094.363 | 5604.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 | LosAngeles | MidriseApartment | PVB | 3 | 0 | 2.046 | 427064.237 | 508534.4801 | 81470.2431 | 60009.3894 | 32877.3984 | 122274.3752 | 0.29298 | 26.0037 | 11.5661 | 0 | 12587.172 | 0 | 0 | 167.131 | 0 | 0 | 0 | 22912 | 28665.653 | 287.5872 | 230.0698 | 5.45
95 | LosAngeles | MidriseApartment | PVB | 2 | 26.668 | 4.227 | 474053.3058 | 508534.4801 | 34481.1743 | 124650.2091 | 78135.9966 | 93836.0147 | 0.6328 | 43.9341 | 24.9819 | 17982.954 | 14056.916 | 212.228 | 0 | 184.972 | 0 | 0 | 0 | 22912 | 28665.653 | 0 | 0 | 18.42
96 | Chicago | LargeHotel | PVB | 2 | 356.817 | 291.741 | 4995390.2027 | 3806060.5776 | -1189329.6251 | 1838987.2707 | 1171798.2038 | -421387.6578 | 10.5321 | 977.6997 | 415.7925 | 435266.626 | 520385.375 | 4083.878 | 0 | 5604.067 | 0 | 0 | 0 | 469484 | 626094.363 | 0 | 0 | 0
97 | Chicago | LargeHotel | PVB | 3 | 0 | 0 | 3739274.2984 | 3806060.5776 | 66786.2792 | 320691.1784 | 0 | 461009.7695 | 2.0634 | 360.8763 | 81.4591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 10.12
98 | LosAngeles | LargeHotel | None | 4 | 358.659 | 119.587 | 6147991.904 | 5201256.357 | -946735.547 | 1051594.1012 | 967535.5565 | -862677.0022 | 7.5373 | 357.3225 | 297.56 | 696202.078 | 334613.16 | 566.279 | 701688.332 | 4352.139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 | Chicago | RetailStore | None | 4 | 168.974 | 0 | 1094193.9687 | 707297.1534 | -386896.8153 | 380190.6309 | 142519.9586 | -149226.143 | 0.75879 | 35.3042 | 29.9561 | 166688.33 | 0 | 1178.296 | 42373.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 | LosAngeles | LargeOffice | None | 4 | 696.15 | 5.47 | 13912923.5563 | 12059061.6775 | -1853861.8788 | 1577526.7694 | 258842.9285 | -535178.0378 | 1.9332 | 64.7755 | 76.3194 | 990253.042 | 11067.518 | 1166.519 | 943663.713 | 149.299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 | Miami | SecondarySchool | PVB | 4 | 1386.062 | 7.767 | 8408526.3877 | 5199508.4354 | -3209017.9523 | 4537835.8027 | 52097.0292 | 1598490.1869 | 3.7392 | 241.2795 | 147.6181 | 2276813.637 | 13580.061 | 162.815 | 2314969.117 | 200.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 | Miami | LargeOffice | None | 4 | 947.079 | 3.321 | 12975162.8975 | 10143371.3791 | -2831791.5184 | 2137721.4179 | 34097.6798 | -728167.7803 | -2.0904 | -90.9526 | -82.5257 | 2448163.443 | 6922.137 | 135.179 | 2505318.959 | 102.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 | Chicago | SecondarySchool | PVB | 2 | 1443.417 | 28.904 | 6963944.5297 | 3729937.8131 | -3234006.7166 | 3555454.0029 | 911419.7956 | -532960.0919 | 7.1503 | 545.9895 | 282.2832 | 763368.034 | 33845.052 | 7169.738 | 0 | 365.49 | 0 | 0 | 0 | 336986 | 449397.711 | 0 | 0 | 0
104 | Chicago | SecondarySchool | PVB | 3 | 0 | 0 | 3687069.7409 | 3729937.8131 | 42868.0722 | 237148.4981 | 0 | 334393.1123 | 1.5003 | 262.238 | 59.2287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 10.34
105 | Miami | LargeOffice | TES | 1 | 0 | 1.51 | 10142036.3174 | 10143371.3791 | 1335.0617 | 3396.8543 | 13425.4076 | -7979.2687 | 0.12564 | 3.6702 | 4.9601 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 9.3
106 | Chicago | LargeOffice | TES | 4 | 1544.565 | 13.162 | 11385734.301 | 7753964.586 | -3631769.715 | 3502194.5534 | 768856.4228 | -898431.5843 | 3.2239 | 112.234 | 127.2767 | 1329642.139 | 17302.169 | 6164.823 | 710954.044 | 191.767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
107 | Minneapolis | RetailStore | None | 3 | 0 | 0 | 809892.3286 | 809892.3286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0
108 | Miami | LargeHotel | PVB | 2 | 64.455 | 79.56 | 4510798.1315 | 4792058.4594 | 281260.3279 | 966704.3296 | 449176.0356 | 949879.9406 | 6.7806 | 294.0709 | 267.6885 | 10924.8 | 202145.159 | 158.456 | 0 | 2970.599 | 0 | 0 | 0 | 1467216 | 1956649.57 | 0 | 0 | 14.65
109 | Miami | LargeHotel | PVB | 3 | 0 | 36.164 | 4317358.3313 | 4792058.4594 | 474700.1281 | 740288.1707 | 409919.4393 | 973263.2213 | 6.4339 | 283.1361 | 254 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.65
110 | Minneapolis | SecondarySchool | PVB | 4 | 1708.082 | 32.699 | 8564541.8849 | 4097278.3488 | -4467263.5361 | 4447848.0136 | 1152201.7337 | -1048308.2133 | 11.5903 | 153.0589 | 457.5698 | 1755927.501 | 44586.963 | 9570.659 | 349868.652 | 393.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 | LosAngeles | MidriseApartment | None | 4 | 52.167 | 4.227 | 618547.985 | 508534.4801 | -110013.5049 | 126021.9032 | 78135.9966 | -62127.5983 | 0.60064 | 29.7211 | 23.7121 | 45937.314 | 14056.916 | 212.228 | 28665.653 | 184.972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 | Minneapolis | LargeHotel | TES | 1 | 0 | 0 | 4092054.5673 | 4092054.5673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0
113 | Miami | RetailStore | TES | 1 | 0 | 0 | 804633.7818 | 804633.7818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0
114 | Chicago | RetailStore | TES | 4 | 168.974 | 0 | 1094193.9687 | 707297.1534 | -386896.8153 | 380190.6309 | 142519.9586 | -149226.143 | 0.75879 | 35.3042 | 29.9561 | 166688.33 | 0 | 1178.296 | 42373.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 | LosAngeles | SecondarySchool | PVB | 1 | 0 | 5.194 | 3758532.0724 | 4832776.0348 | 1074243.9624 | 955359.0603 | 47089.6973 | 2201348.2293 | 0.83374 | 216.6434 | 32.9149 | 0 | 17858.082 | 0 | 0 | 239.361 | 0 | 0 | 0 | 351337 | 468535.914 | 1251.8013 | 1001.4406 | 5.98
116 | Chicago | SecondarySchool | None | 4 | 1443.417 | 28.904 | 7084863.6552 | 3729937.8131 | -3354925.8421 | 3306809.8518 | 911419.7956 | -959535.7859 | 5.1917 | 210.7289 | 204.9607 | 1171338.399 | 33845.052 | 7169.738 | 449397.711 | 365.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 | LosAngeles | RetailStore | TES | 1 | 12.039 | 0 | 915279.9271 | 889596.1339 | -25683.7932 | 27088.1805 | 20676.1151 | -13576.1639 | 0.16389 | 8.1741 | 6.4705 | 8613.312 | 0 | 105.106 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 43.7215 | 34.9773 | 0
118 | LosAngeles | RetailStore | None | 4 | 70.708 | 0 | 1050997.3816 | 889596.1339 | -161401.2477 | 159093.196 | 27556.7336 | -29864.7853 | 0.214 | 9.6399 | 8.4485 | 39844.971 | 0 | 140.083 | 28354.124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 | Chicago | LargeOffice | None | 4 | 1544.565 | 13.162 | 11385734.301 | 7753964.586 | -3631769.715 | 3502194.5534 | 768856.4228 | -898431.5843 | 3.2239 | 112.234 | 127.2767 | 1329642.139 | 17302.169 | 6164.823 | 710954.044 | 191.767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 | Miami | MidriseApartment | PVB | 3 | 0 | 1.215 | 503700.6884 | 560400.1927 | 56699.5043 | 96396.7125 | 16312.4932 | 158834.8207 | 0.53956 | 28.0765 | 21.3008 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 7.86
121 | Miami | MidriseApartment | PVB | 2 | 24.13 | 2.672 | 557438.7259 | 560400.1927 | 2961.4668 | 153839.0809 | 22596.4017 | 155776.1644 | 0.59196 | 29.9412 | 23.3694 | 2194.373 | 8587.931 | 30.965 | 0 | 126.446 | 0 | 0 | 0 | 176446 | 235304.815 | 0 | 0 | 14.04
122 | Chicago | LargeOffice | PVB | 1 | 0 | 0 | 7613366.4254 | 7753964.586 | 140598.1606 | 1038539.6456 | 0 | 1417267.9028 | 6.3569 | 1109.7081 | 250.9618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 10.72
123 | Minneapolis | LargeOffice | None | 3 | 0 | 0 | 8398296.7812 | 8398296.7812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0
124 | Minneapolis | LargeOffice | TES | 3 | 0 | 0 | 8398296.7812 | 8398296.7812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0
125 | Minneapolis | LargeOffice | TES | 2 | 1662.825 | 14.277 | 12784066.9291 | 8398296.7812 | -4385770.1479 | 3770558.4067 | 967467.2054 | -1582678.9466 | 7.6831 | -318.4716 | 303.3165 | 1320980.933 | 22587.079 | 8159.423 | 0 | 206.95 | 0 | 0 | 0 | 475102 | 633586.414 | 0 | 0 | 0
126 | Miami | SecondarySchool | TES | 1 | 0 | 3.53 | 5199182.0593 | 5199508.4354 | 326.3761 | 7943.5668 | 24607.9925 | -14667.8344 | 0.23218 | 6.6974 | 9.1664 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 12.23
127 | Miami | LargeOffice | PVB | 4 | 947.079 | 3.321 | 11650033.7906 | 10143371.3791 | -1506662.4115 | 4685859.828 | 34097.6798 | 3729370.5906 | 8.2579 | 533.3853 | 326.0084 | 2448163.443 | 6922.137 | 135.179 | 2505318.959 | 102.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.79
128 | Miami | RetailStore | None | 4 | 117.179 | 0 | 1131597.5674 | 804633.7818 | -326963.7856 | 263653.2697 | 1391.8796 | -64702.3954 | -0.18931 | -8.977 | -7.4737 | 214510.681 | 0 | 9.696 | 217760.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
129 | LosAngeles | LargeOffice | PVB | 4 | 696.15 | 5.47 | 10802604.6806 | 12059061.6775 | 1256456.9969 | 3986045.1147 | 258842.9285 | 5535916.1031 | 3.1559 | 607.4087 | 124.5898 | 990253.042 | 11067.518 | 1166.519 | 943663.713 | 149.299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.13
130 | Chicago | MidriseApartment | TES | 2 | 110.893 | 10.067 | 729632.0071 | 465258.0479 | -264373.9592 | 270101.2529 | 172193.7704 | -166466.4768 | 0.98031 | 58.4498 | 38.7011 | 128530.724 | 21910.992 | 1185.632 | 0 | 237.996 | 0 | 0 | 0 | 25663 | 32107.483 | 0 | 0 | 0
131 | Chicago | MidriseApartment | TES | 3 | 0 | 0 | 465258.0479 | 465258.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0
132 | LosAngeles | RetailStore | PVB | 4 | 70.708 | 0 | 790368.9708 | 889596.1339 | 99227.1631 | 336819.3775 | 27556.7336 | 449241.215 | 0.31162 | 52.6211 | 12.3024 | 39844.971 | 0 | 140.083 | 28354.124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.48
133 | LosAngeles | LargeHotel | PVB | 2 | 61.38 | 119.587 | 4460894.8277 | 5201256.357 | 740361.5293 | 919408.5492 | 967535.5565 | 815294.6131 | 7.9411 | 511.5681 | 313.5039 | 46740.664 | 334613.16 | 566.279 | 0 | 4352.139 | 0 | 0 | 0 | 526169 | 701688.332 | 0 | 0 | 16.04
134 | LosAngeles | LargeHotel | PVB | 3 | 0 | 54.358 | 4284767.8013 | 5201256.357 | 916488.5557 | 656568.9266 | 804668.9017 | 916607.5321 | 6.6843 | 446.9635 | 263.8868 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 5.4
135 | Chicago | MidriseApartment | None | 4 | 110.893 | 10.067 | 733409.3354 | 465258.0479 | -268151.2875 | 270101.2529 | 172193.7704 | -170243.8051 | 0.95766 | 55.4272 | 37.807 | 157690.849 | 21910.992 | 1185.632 | 32107.483 | 237.996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
136 | Minneapolis | SecondarySchool | TES | 1 | 0 | 0 | 4097278.3488 | 4097278.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0
137 | Minneapolis | SecondarySchool | None | 3 | 0 | 0 | 4097278.3488 | 4097278.3488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0
138 | Chicago | RetailStore | PVB | 1 | 0 | 0 | 681059.0549 | 707297.1534 | 26238.0985 | 133685.3565 | 0 | 190576.6006 | 0.85196 | 149.2842 | 33.6343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 10.22
139 | Minneapolis | RetailStore | TES | 2 | 222.007 | 0 | 1411108.2041 | 809892.3286 | -601215.8755 | 499514.8163 | 172976.3093 | -274677.3683 | 1.4307 | -53.5077 | 56.4804 | 233179.132 | 0 | 1495.848 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 0 | 0 | 0
140 | Minneapolis | RetailStore | TES | 3 | 0 | 0 | 809892.3286 | 809892.3286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0
141 | Minneapolis | LargeHotel | PVB | 4 | 458.175 | 304.215 | 6112159.4889 | 4092054.5673 | -2020104.9216 | 2168596.7863 | 1288068.9633 | -1021389.0488 | 13.3748 | 239.8841 | 528.018 | 1294907.705 | 696125.642 | 5087.957 | 593508.341 | 6050.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 | Miami | RetailStore | PVB | 4 | 117.179 | 0 | 991690.2177 | 804633.7818 | -187056.4359 | 489727.9249 | 1391.8796 | 353116.9945 | 0.77811 | 49.591 | 30.7184 | 214510.681 | 0 | 9.696 | 217760.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3
143 | LosAngeles | SecondarySchool | TES | 4 | 726.534 | 11.327 | 6612150.4678 | 4832776.0348 | -1779374.433 | 1657869.9937 | 244089.8992 | -365594.3385 | 1.8813 | 76.029 | 74.2706 | 531143.354 | 21115.543 | 958.621 | 468535.914 | 282.179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
144 | Minneapolis | RetailStore | None | 1 | 0 | 0 | 809892.3286 | 809892.3286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0
145 | Minneapolis | SecondarySchool | PVB | 1 | 0 | 0 | 4004449.7169 | 4097278.3488 | 92828.6319 | 461141.0041 | 0 | 659706.1404 | 1.2561 | 414.2365 | 49.5887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 10.18
146 | LosAngeles | SecondarySchool | PVB | 4 | 726.534 | 11.327 | 5461263.0671 | 4832776.0348 | -628487.0323 | 2683788.1231 | 244089.8992 | 2046447.26 | 2.3685 | 290.4906 | 93.5028 | 531143.354 | 21115.543 | 958.621 | 468535.914 | 282.179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.91
147 | Miami | MidriseApartment | None | 4 | 102.958 | 2.672 | 857214.4937 | 560400.1927 | -296814.301 | 237122.1973 | 22596.4017 | -82288.5055 | -0.07573 | -3.4597 | -2.9899 | 233000.537 | 8587.931 | 30.965 | 235304.815 | 126.446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
148 | Chicago | RetailStore | TES | 1 | 0 | 0 | 707297.1534 | 707297.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0
149 | Minneapolis | RetailStore | PVB | 2 | 222.007 | 0 | 1356899.9266 | 809892.3286 | -547007.598 | 669055.0292 | 172976.3093 | -12054.4571 | 1.9293 | 111.2348 | 76.1645 | 233179.132 | 0 | 1495.848 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 0 | 0 | 0
150 | Minneapolis | RetailStore | PVB | 3 | 0 | 0 | 760749.8565 | 809892.3286 | 49142.4721 | 153833.9213 | 0 | 238249.4682 | 0.45135 | 149.4873 | 17.8189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 9.33
151 | Minneapolis | LargeHotel | TES | 4 | 458.175 | 304.215 | 6278256.0784 | 4092054.5673 | -2186201.5111 | 1653151.7539 | 1288068.9633 | -1821118.7205 | 11.8554 | -261.5307 | 468.0343 | 1294907.705 | 696125.642 | 5087.957 | 593508.341 | 6050.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 | LosAngeles | SecondarySchool | None | 4 | 726.534 | 11.327 | 6612150.4678 | 4832776.0348 | -1779374.433 | 1657869.9937 | 244089.8992 | -365594.3385 | 1.8813 | 76.029 | 74.2706 | 531143.354 | 21115.543 | 958.621 | 468535.914 | 282.179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 | Minneapolis | SecondarySchool | None | 2 | 1708.082 | 32.699 | 8594749.7945 | 4097278.3488 | -4497471.4457 | 3910069.1633 | 1152201.7337 | -1739604.016 | 10.2818 | -283.1134 | 405.909 | 1432197.975 | 44586.963 | 9570.659 | 0 | 393.229 | 0 | 0 | 0 | 262353 | 349868.652 | 0 | 0 | 0
154 | Miami | RetailStore | TES | 4 | 117.179 | 0 | 1131597.5674 | 804633.7818 | -326963.7856 | 263653.2697 | 1391.8796 | -64702.3954 | -0.18931 | -8.977 | -7.4737 | 214510.681 | 0 | 9.696 | 217760.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155 | Chicago | MidriseApartment | PVB | 2 | 110.893 | 10.067 | 721113.4131 | 465258.0479 | -255855.3652 | 311896.9693 | 172193.7704 | -106568.6921 | 1.2489 | 105.4133 | 49.3048 | 128530.724 | 21910.992 | 1185.632 | 0 | 237.996 | 0 | 0 | 0 | 25663 | 32107.483 | 0 | 0 | 0
156 | Chicago | MidriseApartment | PVB | 3 | 0 | 0 | 458495.3511 | 465258.0479 | 6762.6968 | 32349.1178 | 0 | 46529.2478 | 0.20861 | 36.5055 | 8.2355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 10.12
157 | LosAngeles | RetailStore | TES | 4 | 70.708 | 0 | 1050997.3816 | 889596.1339 | -161401.2477 | 159093.196 | 27556.7336 | -29864.7853 | 0.214 | 9.6399 | 8.4485 | 39844.971 | 0 | 140.083 | 28354.124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
158 | Miami | SecondarySchool | None | 4 | 1386.062 | 7.767 | 8982369.9072 | 5199508.4354 | -3782861.4718 | 3134526.2347 | 52097.0292 | -700432.2663 | -1.6272 | -82.4297 | -64.2406 | 2276813.637 | 13580.061 | 162.815 | 2314969.117 | 200.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 | LosAngeles | LargeHotel | TES | 2 | 61.38 | 119.587 | 5253121.7829 | 5201256.357 | -51865.4259 | 382715.434 | 967535.5565 | -636685.5484 | 7.6415 | 381.0995 | 301.6774 | 46740.664 | 334613.16 | 566.279 | 0 | 4352.139 | 0 | 0 | 0 | 526169 | 701688.332 | 0 | 0 | 0
160 | LosAngeles | LargeHotel | TES | 3 | 0 | 54.358 | 5072681.8009 | 5201256.357 | 128574.5561 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4
161 | LosAngeles | LargeOffice | TES | 4 | 696.15 | 5.47 | 13912923.5563 | 12059061.6775 | -1853861.8788 | 1577526.7694 | 258842.9285 | -535178.0378 | 1.9332 | 64.7755 | 76.3194 | 990253.042 | 11067.518 | 1166.519 | 943663.713 | 149.299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
162 | Miami | MidriseApartment | TES | 3 | 0 | 1.215 | 557106.4007 | 560400.1927 | 3293.792 | 2732.8822 | 16312.4932 | -9711.203 | 0.14837 | 4.4688 | 5.8571 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 6.01
163 | Miami | MidriseApartment | TES | 2 | 24.13 | 2.672 | 611182.6672 | 560400.1927 | -50782.4745 | 59758.5896 | 22596.4017 | -13620.2868 | 0.19878 | 6.2204 | 7.8473 | 2194.373 | 8587.931 | 30.965 | 0 | 126.446 | 0 | 0 | 0 | 176446 | 235304.815 | 0 | 0 | 0
164 | Minneapolis | LargeOffice | None | 2 | 1662.825 | 14.277 | 12784066.9291 | 8398296.7812 | -4385770.1479 | 3770558.4067 | 967467.2054 | -1582678.9466 | 7.6831 | -318.4716 | 303.3165 | 1320980.933 | 22587.079 | 8159.423 | 0 | 206.95 | 0 | 0 | 0 | 475102 | 633586.414 | 0 | 0 | 0
165 | Chicago | LargeOffice | TES | 1 | 0 | 0 | 7753964.586 | 7753964.586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0
166 | Minneapolis | LargeOffice | PVB | 3 | 0 | 0 | 8047951.4138 | 8398296.7812 | 350345.3674 | 1520827.234 | 0 | 2219887.9708 | 4.2076 | 1393.3994 | 166.1097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 9.96
167 | Minneapolis | LargeOffice | PVB | 2 | 1662.825 | 14.277 | 12389435.2045 | 8398296.7812 | -3991138.4233 | 5447168.0908 | 967467.2054 | 872997.6907 | 12.3581 | 1222.6642 | 487.8804 | 1320980.933 | 22587.079 | 8159.423 | 0 | 206.95 | 0 | 0 | 0 | 475102 | 633586.414 | 0 | 0 | 0
168 | Miami | SecondarySchool | PVB | 1 | 0 | 3.53 | 4680496.14 | 5199508.4354 | 519012.2954 | 1286236.0589 | 24607.9925 | 2075414.3751 | 5.1119 | 300.8584 | 201.8092 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 8.82
169 | Miami | LargeOffice | TES | 4 | 947.079 | 3.321 | 12975162.8975 | 10143371.3791 | -2831791.5184 | 2137721.4179 | 34097.6798 | -728167.7803 | -2.0904 | -90.9526 | -82.5257 | 2448163.443 | 6922.137 | 135.179 | 2505318.959 | 102.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170 | Miami | LargeHotel | PVB | 1 | 0 | 36.164 | 4317358.3313 | 4792058.4594 | 474700.1281 | 740288.1707 | 409919.4393 | 973263.2213 | 6.4339 | 283.1361 | 254 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.65
171 | Miami | SecondarySchool | None | 3 | 0 | 3.53 | 5199182.0593 | 5199508.4354 | 326.3761 | 7943.5668 | 24607.9925 | -14667.8344 | 0.23218 | 6.6974 | 9.1664 | 0 | 11612.963 | 0 | 0 | 171.404 | 0 | 0 | 0 | 1735906 | 2314969.117 | 239.3674 | 191.4944 | 12.23
172 | Minneapolis | RetailStore | PVB | 4 | 222.007 | 0 | 1364062.2318 | 809892.3286 | -554169.9032 | 672483.0207 | 172976.3093 | -15002.7556 | 1.9222 | 109.5921 | 75.8868 | 266569.424 | 0 | 1495.848 | 35818.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
173 | Minneapolis | LargeHotel | TES | 3 | 0 | 0 | 4092054.5673 | 4092054.5673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0
174 | Minneapolis | LargeHotel | TES | 2 | 448.635 | 304.215 | 6151072.6527 | 4092054.5673 | -2059018.0854 | 1631684.8793 | 1288068.9633 | -1715402.1694 | 12.1478 | -196.9703 | 479.5756 | 760113.816 | 696125.642 | 5087.957 | 0 | 6050.887 | 0 | 0 | 0 | 445049 | 593508.341 | 0 | 0 | 0
175 | Miami | RetailStore | TES | 2 | 31.649 | 0 | 875318.4736 | 804633.7818 | -70684.6918 | 71211.0937 | 1391.8796 | -865.4777 | 0.01327 | 0.39544 | 0.52389 | 685.145 | 0 | 9.696 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 0 | 0 | 0
176 | Miami | RetailStore | TES | 3 | 0 | 0 | 804633.7818 | 804633.7818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0
177 | Minneapolis | MidriseApartment | None | 1 | 0 | 0 | 514257.3529 | 514257.3529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0
178 | LosAngeles | SecondarySchool | PVB | 3 | 0.003 | 5.194 | 3758531.2722 | 4832776.0348 | 1074244.7626 | 955365.2223 | 47107.7669 | 2201338.4175 | 0.83389 | 216.6508 | 32.9206 | 7.155 | 17858.082 | 0.092 | 0 | 239.361 | 0 | 0 | 0 | 351337 | 468535.914 | 1251.6859 | 1001.3487 | 5.98
179 | LosAngeles | SecondarySchool | PVB | 2 | 549.904 | 11.327 | 4930736.6202 | 4832776.0348 | -97960.5854 | 2213481.2749 | 244089.8992 | 2089954.0081 | 2.3821 | 295.5022 | 94.0423 | 79328.595 | 21115.543 | 958.621 | 0 | 282.179 | 0 | 0 | 0 | 351337 | 468535.914 | 0 | 0 | 14.64
180 | Chicago | LargeHotel | None | 1 | 0 | 0 | 3806060.5776 | 3806060.5776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 0
181 | LosAngeles | SecondarySchool | None | 3 | 0 | 5.149 | 4830689.568 | 4832776.0348 | 2086.4668 | 11584.1877 | 46855.7089 | -30749.3617 | 0.37914 | 18.7533 | 14.9678 | 0 | 17768.71 | 0 | 0 | 238.171 | 0 | 0 | 0 | 351337 | 468535.914 | 1253.2881 | 1002.6301 | 10.83
182 | Chicago | MidriseApartment | None | 2 | 110.893 | 10.067 | 729632.0071 | 465258.0479 | -264373.9592 | 270101.2529 | 172193.7704 | -166466.4768 | 0.98031 | 58.4498 | 38.7011 | 128530.724 | 21910.992 | 1185.632 | 0 | 237.996 | 0 | 0 | 0 | 25663 | 32107.483 | 0 | 0 | 0
183 | Miami | MidriseApartment | None | 3 | 0 | 1.215 | 557106.4007 | 560400.1927 | 3293.792 | 2732.8822 | 16312.4932 | -9711.203 | 0.14837 | 4.4688 | 5.8571 | 0 | 7687.916 | 0 | 0 | 113.639 | 0 | 0 | 0 | 176446 | 235304.815 | 54.7187 | 43.775 | 6.01
184 | LosAngeles | LargeHotel | None | 1 | 0 | 54.358 | 5072681.8009 | 5201256.357 | 128574.5561 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4
185 | Chicago | MidriseApartment | PVB | 4 | 110.893 | 10.067 | 724806.505 | 465258.0479 | -259548.4571 | 312564.1164 | 172193.7704 | -109441.6646 | 1.2304 | 103.1134 | 48.5734 | 157690.849 | 21910.992 | 1185.632 | 32107.483 | 237.996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
186 | Chicago | RetailStore | None | 1 | 0 | 0 | 707297.1534 | 707297.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0
187 | LosAngeles | LargeOffice | None | 1 | 0 | 2.486 | 12056600.4235 | 12059061.6775 | 2461.254 | 5594.3735 | 27287.7229 | -18055.8218 | 0.22058 | 10.8936 | 8.7081 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 8.97
188 | Miami | LargeOffice | None | 1 | 0 | 1.51 | 10142036.3174 | 10143371.3791 | 1335.0617 | 3396.8543 | 13425.4076 | -7979.2687 | 0.12564 | 3.6702 | 4.9601 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 9.3
189 | LosAngeles | RetailStore | TES | 2 | 52.972 | 0 | 999484.6245 | 889596.1339 | -109888.4906 | 119187.9944 | 27556.7336 | -18257.2298 | 0.21626 | 10.8415 | 8.5378 | 11638.273 | 0 | 140.083 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 0 | 0 | 0
190 | LosAngeles | RetailStore | TES | 3 | 16.07 | 0 | 925400.4516 | 889596.1339 | -35804.3177 | 36157.5445 | 23278.7091 | -15322.9928 | 0.18412 | 9.1909 | 7.2689 | 9738.831 | 0 | 118.336 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 27.1839 | 21.7471 | 0
191 | LosAngeles | LargeHotel | TES | 4 | 358.659 | 119.587 | 6147991.904 | 5201256.357 | -946735.547 | 1051594.1012 | 967535.5565 | -862677.0022 | 7.5373 | 357.3225 | 297.56 | 696202.078 | 334613.16 | 566.279 | 701688.332 | 4352.139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
192 | Chicago | LargeOffice | None | 2 | 1544.565 | 13.162 | 11265864.18 | 7753964.586 | -3511899.594 | 3502194.5534 | 768856.4228 | -778561.4634 | 3.871 | 206.7437 | 152.8204 | 685848.012 | 17302.169 | 6164.823 | 0 | 191.767 | 0 | 0 | 0 | 533117 | 710954.044 | 0 | 0 | 0
193 | LosAngeles | RetailStore | None | 2 | 52.972 | 0 | 999484.6245 | 889596.1339 | -109888.4906 | 119187.9944 | 27556.7336 | -18257.2298 | 0.21626 | 10.8415 | 8.5378 | 11638.273 | 0 | 140.083 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 0 | 0 | 0
194 | LosAngeles | LargeOffice | TES | 3 | 0 | 2.486 | 12056600.4235 | 12059061.6775 | 2461.254 | 5594.3735 | 27287.7229 | -18055.8218 | 0.22058 | 10.8936 | 8.7081 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 8.97
195 | LosAngeles | LargeOffice | TES | 2 | 384.13 | 5.47 | 12847474.4236 | 12059061.6775 | -788412.7461 | 875481.0128 | 258842.9285 | -171774.6618 | 2.0302 | 101.1585 | 80.1496 | 95363.828 | 11067.518 | 1166.519 | 0 | 149.299 | 0 | 0 | 0 | 707617 | 943663.713 | 0 | 0 | 0
196 | LosAngeles | MidriseApartment | None | 1 | 0 | 1.922 | 502733.9033 | 508534.4801 | 5800.5768 | 4323.4149 | 31976.3695 | -20943.3362 | 0.25637 | 12.6418 | 10.1208 | 0 | 12226.826 | 0 | 0 | 162.551 | 0 | 0 | 0 | 22912 | 28665.653 | 293.3127 | 234.6501 | 5.64
197 | Miami | RetailStore | None | 2 | 31.649 | 0 | 875318.4736 | 804633.7818 | -70684.6918 | 71211.0937 | 1391.8796 | -865.4777 | 0.01327 | 0.39544 | 0.52389 | 685.145 | 0 | 9.696 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 0 | 0 | 0
198 | Minneapolis | MidriseApartment | TES | 1 | 0 | 0 | 514257.3529 | 514257.3529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0
199 | Chicago | LargeHotel | PVB | 1 | 0 | 0 | 3739274.2984 | 3806060.5776 | 66786.2792 | 320691.1784 | 0 | 461009.7695 | 2.0634 | 360.8763 | 81.4591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 10.12
200 | LosAngeles | MidriseApartment | PVB | 1 | 0 | 2.046 | 427064.237 | 508534.4801 | 81470.2431 | 60009.3894 | 32877.3984 | 122274.3752 | 0.29298 | 26.0037 | 11.5661 | 0 | 12587.172 | 0 | 0 | 167.131 | 0 | 0 | 0 | 22912 | 28665.653 | 287.5872 | 230.0698 | 5.45
201 | Miami | MidriseApartment | TES | 4 | 102.958 | 2.672 | 857214.4937 | 560400.1927 | -296814.301 | 237122.1973 | 22596.4017 | -82288.5055 | -0.07573 | -3.4597 | -2.9899 | 233000.537 | 8587.931 | 30.965 | 235304.815 | 126.446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
202 | Minneapolis | LargeOffice | PVB | 4 | 1662.825 | 14.277 | 12503379.5885 | 8398296.7812 | -4105082.8073 | 5465711.0231 | 967467.2054 | 781848.0077 | 12.1497 | 1168.2513 | 479.6515 | 1901980.117 | 22587.079 | 8159.423 | 633586.414 | 206.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
203 | Chicago | SecondarySchool | None | 1 | 0 | 0 | 3729937.8131 | 3729937.8131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0
204 | Chicago | SecondarySchool | PVB | 1 | 0 | 0 | 3687069.7409 | 3729937.8131 | 42868.0722 | 237148.4981 | 0 | 334393.1123 | 1.5003 | 262.238 | 59.2287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 10.34
205 | Miami | LargeOffice | TES | 3 | 0 | 1.51 | 10142036.3174 | 10143371.3791 | 1335.0617 | 3396.8543 | 13425.4076 | -7979.2687 | 0.12564 | 3.6702 | 4.9601 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 9.3
206 | Miami | LargeOffice | TES | 2 | 202.418 | 3.321 | 10592332.5092 | 10143371.3791 | -448961.1301 | 462235.2447 | 34097.6798 | -20823.5652 | 0.31509 | 9.4153 | 12.4392 | 9563.262 | 6922.137 | 135.179 | 0 | 102.343 | 0 | 0 | 0 | 1878642 | 2505318.959 | 0 | 0 | 0
207 | Miami | MidriseApartment | PVB | 4 | 102.958 | 2.672 | 797602.0538 | 560400.1927 | -237201.8611 | 345291.2735 | 22596.4017 | 110295.4461 | 0.37146 | 23.5416 | 14.6644 | 233000.537 | 8587.931 | 30.965 | 235304.815 | 126.446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
208 | Chicago | LargeHotel | TES | 1 | 0 | 0 | 3806060.5776 | 3806060.5776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469484 | 626094.363 | 12109.9312 | 9687.9452 | 0
209 | LosAngeles | MidriseApartment | TES | 1 | 0 | 1.922 | 502733.9033 | 508534.4801 | 5800.5768 | 4323.4149 | 31976.3695 | -20943.3362 | 0.25637 | 12.6418 | 10.1208 | 0 | 12226.826 | 0 | 0 | 162.551 | 0 | 0 | 0 | 22912 | 28665.653 | 293.3127 | 234.6501 | 5.64
210 | Miami | LargeHotel | None | 1 | 0 | 36.164 | 4725650.6657 | 4792058.4594 | 66407.7937 | 81368.4648 | 409919.4393 | -245034.6382 | 3.6095 | 113.0359 | 142.4986 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.23
211 | Minneapolis | LargeOffice | TES | 4 | 1662.825 | 14.277 | 12908810.3595 | 8398296.7812 | -4510513.5783 | 3770558.4067 | 967467.2054 | -1707422.3769 | 7.4121 | -393.6049 | 292.6185 | 1901980.117 | 22587.079 | 8159.423 | 633586.414 | 206.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212 | Miami | LargeOffice | PVB | 3 | 0 | 1.51 | 8910663.9142 | 10143371.3791 | 1232707.4649 | 2380987.8704 | 13425.4076 | 4146149.644 | 9.7698 | 585.2139 | 385.6978 | 0 | 6317.383 | 0 | 0 | 93.512 | 0 | 0 | 0 | 1878642 | 2505318.959 | 180.009 | 144.0074 | 8.2
213 | Chicago | SecondarySchool | TES | 1 | 0 | 0 | 3729937.8131 | 3729937.8131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0
214 | Miami | LargeOffice | PVB | 2 | 202.418 | 3.321 | 9359701.155 | 10143371.3791 | 783670.2241 | 2840331.1741 | 34097.6798 | 4135184.9849 | 9.9637 | 591.188 | 393.3537 | 9563.262 | 6922.137 | 135.179 | 0 | 102.343 | 0 | 0 | 0 | 1878642 | 2505318.959 | 0 | 0 | 9.84
215 | Miami | RetailStore | None | 3 | 0 | 0 | 804633.7818 | 804633.7818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0
216 | Minneapolis | LargeOffice | None | 4 | 1662.825 | 14.277 | 12908810.3595 | 8398296.7812 | -4510513.5783 | 3770558.4067 | 967467.2054 | -1707422.3769 | 7.4121 | -393.6049 | 292.6185 | 1901980.117 | 22587.079 | 8159.423 | 633586.414 | 206.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
217 | Minneapolis | MidriseApartment | PVB | 1 | 0 | 0 | 502582.5779 | 514257.3529 | 11674.775 | 36119.5596 | 0 | 56076.3046 | 0.10648 | 35.135 | 4.2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 9.31
218 | LosAngeles | LargeOffice | PVB | 3 | 0 | 2.486 | 9092141.6787 | 12059061.6775 | 2966919.9988 | 2285677.5036 | 27287.7229 | 5749293.6495 | 1.3846 | 525.3992 | 54.6602 | 0 | 10275.32 | 0 | 0 | 138.718 | 0 | 0 | 0 | 707617 | 943663.713 | 1471.374 | 1177.0992 | 5.57
219 | LosAngeles | LargeOffice | PVB | 2 | 384.13 | 5.47 | 9871998.772 | 12059061.6775 | 2187062.9055 | 3162844.3201 | 258842.9285 | 5615541.1887 | 3.1997 | 617.3837 | 126.3203 | 95363.828 | 11067.518 | 1166.519 | 0 | 149.299 | 0 | 0 | 0 | 707617 | 943663.713 | 0 | 0 | 7.94
220 | Chicago | LargeOffice | None | 3 | 0 | 0 | 7753964.586 | 7753964.586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0
221 | LosAngeles | RetailStore | None | 3 | 16.07 | 0 | 925400.4516 | 889596.1339 | -35804.3177 | 36157.5445 | 23278.7091 | -15322.9928 | 0.18412 | 9.1909 | 7.2689 | 9738.831 | 0 | 118.336 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 27.1839 | 21.7471 | 0
222 | Chicago | MidriseApartment | TES | 4 | 110.893 | 10.067 | 733409.3354 | 465258.0479 | -268151.2875 | 270101.2529 | 172193.7704 | -170243.8051 | 0.95766 | 55.4272 | 37.807 | 157690.849 | 21910.992 | 1185.632 | 32107.483 | 237.996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
223 | Minneapolis | LargeHotel | None | 1 | 0 | 0 | 4092054.5673 | 4092054.5673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0
224 | LosAngeles | RetailStore | PVB | 2 | 52.972 | 0 | 742483.5025 | 889596.1339 | 147112.6314 | 291213.9029 | 27556.7336 | 450214.1747 | 0.31175 | 52.816 | 12.3077 | 11638.273 | 0 | 140.083 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 0 | 0 | 9.08
225 | Miami | MidriseApartment | None | 2 | 24.13 | 2.672 | 611182.6672 | 560400.1927 | -50782.4745 | 59758.5896 | 22596.4017 | -13620.2868 | 0.19878 | 6.2204 | 7.8473 | 2194.373 | 8587.931 | 30.965 | 0 | 126.446 | 0 | 0 | 0 | 176446 | 235304.815 | 0 | 0 | 0
226 | LosAngeles | RetailStore | PVB | 3 | 0 | 0 | 634840.819 | 889596.1339 | 254755.3149 | 170201.2155 | 0 | 463982.5147 | 0.09423 | 41.5837 | 3.7204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 175.104 | 140.0833 | 5.17
227 | LosAngeles | SecondarySchool | None | 2 | 549.904 | 11.327 | 6011473.1739 | 4832776.0348 | -1178697.1391 | 1260451.6978 | 244089.8992 | -162335.3405 | 1.9244 | 96.0685 | 75.9708 | 79328.595 | 21115.543 | 958.621 | 0 | 282.179 | 0 | 0 | 0 | 351337 | 468535.914 | 0 | 0 | 0
228 | Chicago | MidriseApartment | None | 3 | 0 | 0 | 465258.0479 | 465258.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0
229 | Minneapolis | SecondarySchool | None | 4 | 1708.082 | 32.699 | 8667049.2851 | 4097278.3488 | -4569770.9363 | 3910069.1633 | 1152201.7337 | -1811903.5066 | 10.1321 | -326.359 | 400.0002 | 1755927.501 | 44586.963 | 9570.659 | 349868.652 | 393.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
230 | LosAngeles | LargeHotel | PVB | 4 | 358.659 | 119.587 | 5282588.7624 | 5201256.357 | -81332.4054 | 1643144.843 | 967535.5565 | 729915.4538 | 7.8639 | 500.8499 | 310.4543 | 696202.078 | 334613.16 | 566.279 | 701688.332 | 4352.139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
231 | Miami | LargeHotel | TES | 1 | 0 | 36.164 | 4725650.6657 | 4792058.4594 | 66407.7937 | 81368.4648 | 409919.4393 | -245034.6382 | 3.6095 | 113.0359 | 142.4986 | 0 | 193977.926 | 0 | 0 | 2855.585 | 0 | 0 | 0 | 1467216 | 1956649.57 | 341.8372 | 273.4696 | 7.23
232 | LosAngeles | SecondarySchool | TES | 3 | 0 | 5.149 | 4830689.568 | 4832776.0348 | 2086.4668 | 11584.1877 | 46855.7089 | -30749.3617 | 0.37914 | 18.7533 | 14.9678 | 0 | 17768.71 | 0 | 0 | 238.171 | 0 | 0 | 0 | 351337 | 468535.914 | 1253.2881 | 1002.6301 | 10.83
233 | LosAngeles | SecondarySchool | TES | 2 | 549.904 | 11.327 | 6011473.1739 | 4832776.0348 | -1178697.1391 | 1260451.6978 | 244089.8992 | -162335.3405 | 1.9244 | 96.0685 | 75.9708 | 79328.595 | 21115.543 | 958.621 | 0 | 282.179 | 0 | 0 | 0 | 351337 | 468535.914 | 0 | 0 | 0
234 | Miami | SecondarySchool | None | 2 | 371.038 | 7.767 | 6029762.7109 | 5199508.4354 | -830254.2755 | 850721.6125 | 52097.0292 | -31629.6922 | 0.49612 | 14.4511 | 19.5861 | 11460.344 | 13580.061 | 162.815 | 0 | 200.083 | 0 | 0 | 0 | 1735906 | 2314969.117 | 0 | 0 | 0
235 | Minneapolis | RetailStore | TES | 4 | 222.007 | 0 | 1418801.8581 | 809892.3286 | -608909.5295 | 499514.8163 | 172976.3093 | -282371.0224 | 1.4144 | -58.096 | 55.84 | 266569.424 | 0 | 1495.848 | 35818.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
236 | Minneapolis | LargeHotel | PVB | 3 | 0 | 0 | 3982219.803 | 4092054.5673 | 109834.7643 | 346935.5335 | 0 | 536320.2625 | 1.0142 | 335.9378 | 40.0398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 9.35
237 | Minneapolis | LargeHotel | PVB | 2 | 448.635 | 304.215 | 5992150.4524 | 4092054.5673 | -1900095.8851 | 2120145.9654 | 1288068.9633 | -956018.0691 | 13.59 | 279.4274 | 536.5118 | 760113.816 | 696125.642 | 5087.957 | 0 | 6050.887 | 0 | 0 | 0 | 445049 | 593508.341 | 0 | 0 | 0
238 | Miami | RetailStore | PVB | 2 | 31.649 | 0 | 743607.62 | 804633.7818 | 61026.1618 | 280913.2619 | 1391.8796 | 388630.829 | 0.91497 | 54.9495 | 36.1216 | 685.145 | 0 | 9.696 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 0 | 0 | 10.3
239 | Miami | RetailStore | PVB | 3 | 0 | 0 | 672986.5969 | 804633.7818 | 131647.1849 | 209613.1861 | 0 | 389323.2528 | 0.90129 | 54.5309 | 35.5815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 7.68
-170.064