## Sheet1
| Location | Building Type | Configuration | ASHP-SH Size [ton] | ASHP-WH Size [ton] | LCC | LCC-BAU | NPV | LCCC | NPV-Fuel | NPV-Elec Bill | CO2 Emission Saving [kTonne] | Avoided Health Damages [T$] | Avoided Climate Damages [T$] | ASHP-SH Annual Elec Consumption | ASHP-WH Annual Elec Consumption | ASHP-SH Annual Thermal Production-Heat | ASHP-SH Annual Thermal Production-Cool | ASHP-WH Annual Thermal Production | Electric Heater Size [mmbtu] | Electric Heater Annual Thermal Production | Electric Heater Annual Elec Consumption | Existing Chiller Annual Elec Consumption | Existing Chiller Annual Cooling Production | Existing Boiler Annual Fuel Consumption | Existing Boiler Annual Thermal Production | Payback Years | Cost per ton | Bill Increase
0 | Minneapolis | RetailStore | 4 | 222.007 | 0 | 1450440.8769 | 841531.3474 | -608909.5295 | 499514.8163 | 172976.3093 | -282371.0225 | 1.4144 | -58.096 | 55.84 | 266569.424 | 0 | 1495.848 | 35818.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2742.7492 | 109394.7132
1 | Minneapolis | LargeHotel | 2 | 448.635 | 304.215 | 6675325.7393 | 4616307.6539 | -2059018.0854 | 1631684.8793 | 1288068.9633 | -1715402.1694 | 12.1478 | -196.9703 | 479.5756 | 760113.816 | 696125.642 | 5087.957 | 0 | 6050.887 | 0 | 0 | 0 | 445049 | 593508.341 | 0 | 0 | 0 | -2734.9646 | 427333.2061
2 | Miami | LargeOffice | 3 | 0 | 0 | 12516488.899 | 12516488.899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1878642 | 2505318.959 | 296.9165 | 237.5316 | 0 | 0 | 0
3 | LosAngeles | LargeOffice | 3 | 0 | 1.445 | 13382288.7954 | 13385514.3688 | 3225.5734 | 3251.753 | 21214.0601 | -14053.0197 | 0.1706 | 8.4288 | 6.7348 | 0 | 8036.089 | 0 | 0 | 107.843 | 0 | 0 | 0 | 707617 | 943663.713 | 1509.9675 | 1207.9744 | 6.58 | 2232.2307 | -7161.0404
4 | Chicago | RetailStore | 3 | 0 | 0 | 741641.5274 | 741641.5274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0 | 0 | 0
5 | LosAngeles | LargeHotel | 3 | 0 | 54.358 | 6006477.2473 | 6135051.8035 | 128574.5562 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4 | 2365.329 | -276595.8254
6 | Miami | MidriseApartment | 1 | 0 | 1.141 | 779978.2688 | 783288.3714 | 3310.1026 | 2566.5199 | 15845.5807 | -9429.3214 | 0.14405 | 4.3402 | 5.6871 | 0 | 7464.432 | 0 | 0 | 110.383 | 0 | 0 | 0 | 176446 | 235304.815 | 58.7844 | 47.0276 | 5.8 | 2901.054 | -6416.2593
7 | LosAngeles | SecondarySchool | 1 | 0 | 2.023 | 5516020.5344 | 5519424.9568 | 3404.4224 | 4552.4674 | 26256.3126 | -17342.2204 | 0.21111 | 10.4227 | 8.3343 | 0 | 9994.775 | 0 | 0 | 133.452 | 0 | 0 | 0 | 351337 | 468535.914 | 1384.1825 | 1107.3461 | 7.46 | 1682.8583 | -8914.0922
8 | Chicago | LargeHotel | 3 | 0 | 18.568 | 4312315.4906 | 4316724.7611 | 4409.2705 | 41778.1612 | 225320.28 | -170348.5675 | 1.8735 | 128.6856 | 73.9621 | 0 | 155313.591 | 0 | 0 | 1862.856 | 0 | 0 | 0 | 469484 | 626094.363 | 9781.3626 | 7825.0899 | 11.39 | 237.4661 | -54971.7125
9 | Minneapolis | MidriseApartment | 3 | 0 | 0 | 540751.0113 | 540751.0113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0 | 0 | 0
10 | Miami | SecondarySchool | 1 | 0 | 1.504 | 7390381.6242 | 7392320.5526 | 1938.9284 | 3384.7995 | 14896.2073 | -8860.791 | 0.13735 | 4.0601 | 5.4223 | 0 | 7015.3 | 0 | 0 | 103.75 | 0 | 0 | 0 | 1735906 | 2314969.117 | 323.9358 | 259.1487 | 8.29 | 1289.1811 | -6035.4163
11 | Chicago | SecondarySchool | 3 | 0 | 0 | 4094779.7572 | 4094779.7572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0 | 0 | 0
12 | Miami | LargeHotel | 2 | 64.455 | 79.56 | 6773195.4853 | 6645458.945 | -127736.5403 | 307760.6393 | 449176.0356 | -269151.9365 | 3.9547 | 123.8864 | 156.124 | 10924.8 | 202145.159 | 158.456 | 0 | 2970.599 | 0 | 0 | 0 | 1467216 | 1956649.57 | 0 | 0 | 20.85 | -886.9669 | -180024.0991
13 | LosAngeles | MidriseApartment | 3 | 0 | 1.915 | 547249.4797 | 553050.131 | 5800.6513 | 4308.2088 | 31923.003 | -20908.2986 | 0.25593 | 12.6209 | 10.104 | 0 | 12205.688 | 0 | 0 | 162.28 | 0 | 0 | 0 | 22912 | 28665.653 | 293.6515 | 234.9214 | 5.62 | 3029.0607 | -11014.7044
14 | LosAngeles | RetailStore | 1 | 0 | 0 | 935896.8056 | 935896.8056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 175.104 | 140.0833 | 0 | 0 | 0
15 | Chicago | LargeOffice | 1 | 0 | 0 | 8331701.7825 | 8331701.7825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0 | 0 | 0
16 | LosAngeles | MidriseApartment | 2 | 26.668 | 4.227 | 595561.7814 | 553050.131 | -42511.6504 | 68649.3035 | 78135.9966 | -51998.3436 | 0.6028 | 30.7554 | 23.7979 | 17982.954 | 14056.916 | 212.228 | 0 | 184.972 | 0 | 0 | 0 | 22912 | 28665.653 | 0 | 0 | 0 | -1376.0042 | -26137.653
17 | Miami | RetailStore | 1 | 0 | 0 | 1010903.1827 | 1010903.1827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0 | 0 | 0
18 | Miami | LargeHotel | 3 | 0 | 22.971 | 6564466.9249 | 6645458.945 | 80992.0201 | 51684.4738 | 355654.912 | -212111.2347 | 3.1134 | 98.0298 | 122.9102 | 0 | 167914.533 | 0 | 0 | 2477.566 | 0 | 0 | 0 | 1467216 | 1956649.57 | 814.3597 | 651.4877 | 5.19 | 3525.8378 | -143543.6773
19 | Chicago | SecondarySchool | 2 | 1443.417 | 28.904 | 7372882.6987 | 4094779.7572 | -3278102.9415 | 3306809.8518 | 911419.7956 | -882712.8852 | 5.58 | 271.6558 | 220.2888 | 763368.034 | 33845.052 | 7169.738 | 0 | 365.49 | 0 | 0 | 0 | 336986 | 449397.711 | 0 | 0 | 0 | -2226.4866 | -28706.9104
20 | Minneapolis | MidriseApartment | 2 | 135.508 | 10.536 | 966853.2749 | 540751.0113 | -426102.2636 | 326443.5901 | 197536.3548 | -297195.0283 | 1.6699 | -52.8915 | 65.9252 | 223230.772 | 29064.035 | 1451.319 | 0 | 256.918 | 0 | 0 | 0 | 22491 | 28138.931 | 0 | 0 | 0 | -2917.6294 | 99658.6735
21 | Chicago | LargeHotel | 2 | 356.817 | 291.741 | 5599424.6276 | 4316724.7611 | -1282699.8665 | 1399580.8998 | 1171798.2038 | -1054917.1706 | 7.6929 | 480.9447 | 303.7064 | 435266.626 | 520385.375 | 4083.878 | 0 | 5604.067 | 0 | 0 | 0 | 469484 | 626094.363 | 0 | 0 | 0 | -1977.772 | -116881.0332
22 | Chicago | MidriseApartment | 1 | 0 | 0 | 492983.5625 | 492983.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0 | 0 | 0
23 | LosAngeles | LargeHotel | 2 | 61.38 | 119.587 | 6186917.2294 | 6135051.8035 | -51865.4259 | 382715.434 | 967535.5565 | -636685.5483 | 7.6415 | 381.0995 | 301.6774 | 46740.664 | 334613.16 | 566.279 | 0 | 4352.139 | 0 | 0 | 0 | 526169 | 701688.332 | 0 | 0 | 14.62 | -286.6016 | -330850.0082
24 | LosAngeles | LargeOffice | 2 | 384.13 | 5.47 | 14173927.115 | 13385514.3688 | -788412.7462 | 875481.0128 | 258842.9285 | -171774.6618 | 2.0302 | 101.1585 | 80.1496 | 95363.828 | 11067.518 | 1166.519 | 0 | 149.299 | 0 | 0 | 0 | 707617 | 943663.713 | 0 | 0 | 0 | -2023.6467 | -87068.2667
25 | Chicago | RetailStore | 2 | 168.974 | 0 | 1120964.134 | 741641.5274 | -379322.6066 | 380190.6309 | 142519.9586 | -141651.9343 | 0.7977 | 41.244 | 31.4919 | 127905.065 | 0 | 1178.296 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 0 | 0 | 0 | -2244.8578 | -868.0243
26 | Miami | LargeOffice | 2 | 202.418 | 3.321 | 12965450.0291 | 12516488.899 | -448961.1301 | 462235.2447 | 34097.6798 | -20823.5652 | 0.31509 | 9.4153 | 12.4392 | 9563.262 | 6922.137 | 135.179 | 0 | 102.343 | 0 | 0 | 0 | 1878642 | 2505318.959 | 0 | 0 | 0 | -2182.1878 | -13274.1146
27 | Minneapolis | LargeHotel | 3 | 0 | 0 | 4616307.6539 | 4616307.6539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0 | 0 | 0
28 | Miami | LargeHotel | 4 | 488.412 | 79.56 | 8266144.4653 | 6645458.945 | -1620685.5203 | 1261664.6208 | 449176.0356 | -808196.9351 | 1.4657 | 50.7267 | 57.8638 | 1904867.52 | 202145.159 | 158.456 | 1956649.57 | 2970.599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2853.4602 | 359020.8995
29 | Minneapolis | LargeOffice | 1 | 0 | 0 | 8957951.3136 | 8957951.3136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0 | 0 | 0
30 | Minneapolis | RetailStore | 2 | 222.007 | 0 | 1442747.2228 | 841531.3474 | -601215.8754 | 499514.8163 | 172976.3093 | -274677.3684 | 1.4307 | -53.5077 | 56.4804 | 233179.132 | 0 | 1495.848 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 0 | 0 | 0 | -2708.0942 | 101701.0591
31 | Minneapolis | LargeHotel | 4 | 458.175 | 304.215 | 6802509.165 | 4616307.6539 | -2186201.5111 | 1653151.7539 | 1288068.9633 | -1821118.7205 | 11.8554 | -261.5307 | 468.0343 | 1294907.705 | 696125.642 | 5087.957 | 593508.341 | 6050.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2867.5632 | 533049.7572
32 | Minneapolis | SecondarySchool | 1 | 0 | 0 | 4406321.5554 | 4406321.5554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0 | 0 | 0
33 | Minneapolis | MidriseApartment | 4 | 135.508 | 10.536 | 970781.8105 | 540751.0113 | -430030.7992 | 326443.5901 | 197536.3548 | -301123.5639 | 1.66 | -55.225 | 65.5338 | 249056.763 | 29064.035 | 1451.319 | 28138.931 | 256.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2944.529 | 103587.2091
34 | Chicago | LargeHotel | 4 | 443.714 | 291.741 | 5894497.1717 | 4316724.7611 | -1577772.4106 | 1595099.9824 | 1171798.2038 | -1154470.6321 | 7.0448 | 400.9748 | 278.1206 | 996353.188 | 520385.375 | 4083.878 | 626094.363 | 5604.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2145.3011 | -17327.5717
35 | LosAngeles | LargeHotel | 4 | 358.659 | 119.587 | 7081787.3505 | 6135051.8035 | -946735.547 | 1051594.1012 | 967535.5565 | -862677.0022 | 7.5373 | 357.3225 | 297.56 | 696202.078 | 334613.16 | 566.279 | 701688.332 | 4352.139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1979.5995 | -104858.5543
36 | Chicago | RetailStore | 4 | 168.974 | 0 | 1128538.3427 | 741641.5274 | -386896.8153 | 380190.6309 | 142519.9586 | -149226.143 | 0.75879 | 35.3042 | 29.9561 | 166688.33 | 0 | 1178.296 | 42373.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2289.6825 | 6706.1844
37 | LosAngeles | LargeOffice | 4 | 696.15 | 5.47 | 15239376.2476 | 13385514.3688 | -1853861.8788 | 1577526.7694 | 258842.9285 | -535178.0379 | 1.9332 | 64.7754 | 76.3194 | 990253.042 | 11067.518 | 1166.519 | 943663.713 | 149.299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2642.2592 | 276335.1094
38 | Miami | LargeOffice | 4 | 947.079 | 3.321 | 15348280.4173 | 12516488.899 | -2831791.5183 | 2137721.4179 | 34097.6798 | -728167.7803 | -2.0904 | -90.9526 | -82.5257 | 2448163.443 | 6922.137 | 135.179 | 2505318.959 | 102.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2979.5786 | 694070.1005
39 | Minneapolis | RetailStore | 3 | 0 | 0 | 841531.3474 | 841531.3474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0 | 0 | 0
40 | LosAngeles | MidriseApartment | 4 | 52.167 | 4.227 | 663063.6359 | 553050.131 | -110013.5049 | 126021.9032 | 78135.9966 | -62127.5984 | 0.60063 | 29.7211 | 23.7121 | 45937.314 | 14056.916 | 212.228 | 28665.653 | 184.972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1950.8016 | -16008.3982
41 | Chicago | SecondarySchool | 4 | 1443.417 | 28.904 | 7449705.5994 | 4094779.7572 | -3354925.8422 | 3306809.8518 | 911419.7956 | -959535.7859 | 5.1917 | 210.7289 | 204.9607 | 1171338.399 | 33845.052 | 7169.738 | 449397.711 | 365.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2278.6647 | 48115.9903
42 | LosAngeles | RetailStore | 4 | 70.708 | 0 | 1097298.0533 | 935896.8056 | -161401.2477 | 159093.196 | 27556.7336 | -29864.7853 | 0.214 | 9.6399 | 8.4485 | 39844.971 | 0 | 140.083 | 28354.124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2282.6448 | 2308.0517
43 | Chicago | LargeOffice | 4 | 1544.565 | 13.162 | 11963471.4975 | 8331701.7825 | -3631769.715 | 3502194.5534 | 768856.4228 | -898431.5843 | 3.2239 | 112.2341 | 127.2767 | 1329642.139 | 17302.169 | 6164.823 | 710954.044 | 191.767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2331.4546 | 129575.1615
44 | Minneapolis | LargeOffice | 3 | 0 | 0 | 8957951.3136 | 8957951.3136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475102 | 633586.414 | 10457.9667 | 8366.3733 | 0 | 0 | 0
45 | Miami | RetailStore | 4 | 117.179 | 0 | 1337866.9683 | 1010903.1827 | -326963.7856 | 263653.2697 | 1391.8796 | -64702.3954 | -0.18931 | -8.977 | -7.4737 | 214510.681 | 0 | 9.696 | 217760.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2790.2934 | 63310.5158
46 | Chicago | MidriseApartment | 4 | 110.893 | 10.067 | 761134.8501 | 492983.5625 | -268151.2876 | 270101.2529 | 172193.7704 | -170243.8051 | 0.95766 | 55.4272 | 37.807 | 157690.849 | 21910.992 | 1185.632 | 32107.483 | 237.996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2216.8592 | -1949.9653
47 | Minneapolis | SecondarySchool | 3 | 0 | 0 | 4406321.5554 | 4406321.5554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262353 | 349868.652 | 12454.8829 | 9963.9034 | 0 | 0 | 0
48 | Minneapolis | RetailStore | 1 | 0 | 0 | 841531.3474 | 841531.3474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26859 | 35818.619 | 1869.8102 | 1495.8485 | 0 | 0 | 0
49 | Miami | MidriseApartment | 4 | 102.958 | 2.672 | 1080102.6725 | 783288.3714 | -296814.3011 | 237122.1973 | 22596.4017 | -82288.5055 | -0.07574 | -3.4597 | -2.9898 | 233000.537 | 8587.931 | 30.965 | 235304.815 | 126.446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2809.9432 | 59692.1038
50 | LosAngeles | SecondarySchool | 4 | 726.534 | 11.327 | 7298799.3898 | 5519424.9568 | -1779374.433 | 1657869.9937 | 244089.8992 | -365594.3385 | 1.8813 | 76.029 | 74.2706 | 531143.354 | 21115.543 | 958.621 | 468535.914 | 282.179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2411.5307 | 121504.4393
51 | Minneapolis | SecondarySchool | 2 | 1708.082 | 32.699 | 8903793.001 | 4406321.5554 | -4497471.4456 | 3910069.1633 | 1152201.7337 | -1739604.0161 | 10.2818 | -283.1134 | 405.909 | 1432197.975 | 44586.963 | 9570.659 | 0 | 393.229 | 0 | 0 | 0 | 262353 | 349868.652 | 0 | 0 | 0 | -2583.5941 | 587402.2824
52 | Miami | SecondarySchool | 4 | 1386.062 | 7.767 | 11175182.0244 | 7392320.5526 | -3782861.4718 | 3134526.2347 | 52097.0292 | -700432.2662 | -1.6272 | -82.4297 | -64.2406 | 2276813.637 | 13580.061 | 162.815 | 2314969.117 | 200.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2714.0069 | 648335.237
53 | Minneapolis | LargeOffice | 2 | 1662.825 | 14.277 | 13343721.4614 | 8957951.3136 | -4385770.1478 | 3770558.4067 | 967467.2054 | -1582678.9466 | 7.6831 | -318.4716 | 303.3165 | 1320980.933 | 22587.079 | 8159.423 | 0 | 206.95 | 0 | 0 | 0 | 475102 | 633586.414 | 0 | 0 | 0 | -2615.0885 | 615211.7412
54 | Miami | SecondarySchool | 3 | 0 | 1.504 | 7390381.6242 | 7392320.5526 | 1938.9284 | 3384.7995 | 14896.2073 | -8860.791 | 0.13735 | 4.0601 | 5.4223 | 0 | 7015.3 | 0 | 0 | 103.75 | 0 | 0 | 0 | 1735906 | 2314969.117 | 323.9358 | 259.1487 | 8.29 | 1289.1811 | -6035.4163
55 | Minneapolis | MidriseApartment | 1 | 0 | 0 | 540751.0113 | 540751.0113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22491 | 28138.931 | 2135.2958 | 1708.2366 | 0 | 0 | 0
56 | Chicago | LargeHotel | 1 | 0 | 18.568 | 4312315.4906 | 4316724.7611 | 4409.2705 | 41778.1612 | 225320.28 | -170348.5675 | 1.8735 | 128.6856 | 73.9621 | 0 | 155313.591 | 0 | 0 | 1862.856 | 0 | 0 | 0 | 469484 | 626094.363 | 9781.3626 | 7825.0899 | 11.39 | 237.4661 | -54971.7125
57 | LosAngeles | SecondarySchool | 3 | 0 | 2.023 | 5516020.5344 | 5519424.9568 | 3404.4224 | 4552.4674 | 26256.3126 | -17342.2204 | 0.21111 | 10.4227 | 8.3343 | 0 | 9994.775 | 0 | 0 | 133.452 | 0 | 0 | 0 | 351337 | 468535.914 | 1384.1825 | 1107.3461 | 7.46 | 1682.8583 | -8914.0922
58 | Chicago | MidriseApartment | 2 | 110.893 | 10.067 | 757357.5218 | 492983.5625 | -264373.9593 | 270101.2529 | 172193.7704 | -166466.4768 | 0.98031 | 58.4498 | 38.7011 | 128530.724 | 21910.992 | 1185.632 | 0 | 237.996 | 0 | 0 | 0 | 25663 | 32107.483 | 0 | 0 | 0 | -2185.6313 | -5727.2936
59 | Miami | MidriseApartment | 3 | 0 | 1.141 | 779978.2688 | 783288.3714 | 3310.1026 | 2566.5199 | 15845.5807 | -9429.3214 | 0.14405 | 4.3402 | 5.6871 | 0 | 7464.432 | 0 | 0 | 110.383 | 0 | 0 | 0 | 176446 | 235304.815 | 58.7844 | 47.0276 | 5.8 | 2901.054 | -6416.2593
60 | LosAngeles | LargeHotel | 1 | 0 | 54.358 | 6006477.2473 | 6135051.8035 | 128574.5562 | 122305.3354 | 804668.9017 | -528073.0763 | 6.3864 | 317.1011 | 252.1261 | 0 | 313069.094 | 0 | 0 | 4090.494 | 0 | 0 | 0 | 526169 | 701688.332 | 1034.9055 | 827.9244 | 6.4 | 2365.329 | -276595.8254
61 | Chicago | RetailStore | 1 | 0 | 0 | 741641.5274 | 741641.5274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31774 | 42373.163 | 1472.8706 | 1178.2964 | 0 | 0 | 0
62 | LosAngeles | LargeOffice | 1 | 0 | 1.445 | 13382288.7954 | 13385514.3688 | 3225.5734 | 3251.753 | 21214.0601 | -14053.0197 | 0.1706 | 8.4288 | 6.7348 | 0 | 8036.089 | 0 | 0 | 107.843 | 0 | 0 | 0 | 707617 | 943663.713 | 1509.9675 | 1207.9744 | 6.58 | 2232.2307 | -7161.0404
63 | Miami | LargeOffice | 1 | 0 | 0 | 12516488.899 | 12516488.899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1878642 | 2505318.959 | 296.9165 | 237.5316 | 0 | 0 | 0
64 | Chicago | LargeOffice | 2 | 1544.565 | 13.162 | 11843601.3765 | 8331701.7825 | -3511899.594 | 3502194.5534 | 768856.4228 | -778561.4634 | 3.871 | 206.7437 | 152.8204 | 685848.012 | 17302.169 | 6164.823 | 0 | 191.767 | 0 | 0 | 0 | 533117 | 710954.044 | 0 | 0 | 0 | -2254.5026 | 9705.0406
65 | LosAngeles | RetailStore | 2 | 52.972 | 0 | 1045785.2961 | 935896.8056 | -109888.4905 | 119187.9944 | 27556.7336 | -18257.2297 | 0.21626 | 10.8415 | 8.5378 | 11638.273 | 0 | 140.083 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 0 | 0 | 0 | -2074.4637 | -9299.5039
66 | LosAngeles | MidriseApartment | 1 | 0 | 1.915 | 547249.4797 | 553050.131 | 5800.6513 | 4308.2088 | 31923.003 | -20908.2986 | 0.25593 | 12.6209 | 10.104 | 0 | 12205.688 | 0 | 0 | 162.28 | 0 | 0 | 0 | 22912 | 28665.653 | 293.6515 | 234.9214 | 5.62 | 3029.0607 | -11014.7044
67 | Miami | RetailStore | 2 | 31.649 | 0 | 1081587.8745 | 1010903.1827 | -70684.6918 | 71211.0937 | 1391.8796 | -865.4777 | 0.01327 | 0.39544 | 0.52389 | 685.145 | 0 | 9.696 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 0 | 0 | 0 | -2233.3942 | -526.4019
68 | Chicago | SecondarySchool | 1 | 0 | 0 | 4094779.7572 | 4094779.7572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336986 | 449397.711 | 9419.0575 | 7535.2437 | 0 | 0 | 0
69 | Miami | LargeHotel | 1 | 0 | 22.971 | 6564466.9249 | 6645458.945 | 80992.0201 | 51684.4738 | 355654.912 | -212111.2347 | 3.1134 | 98.0298 | 122.9102 | 0 | 167914.533 | 0 | 0 | 2477.566 | 0 | 0 | 0 | 1467216 | 1956649.57 | 814.3597 | 651.4877 | 5.19 | 3525.8378 | -143543.6773
70 | Miami | RetailStore | 3 | 0 | 0 | 1010903.1827 | 1010903.1827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163290 | 217760.24 | 12.1202 | 9.6961 | 0 | 0 | 0
71 | Minneapolis | LargeOffice | 4 | 1662.825 | 14.277 | 13468464.8918 | 8957951.3136 | -4510513.5782 | 3770558.4067 | 967467.2054 | -1707422.377 | 7.4121 | -393.6049 | 292.6185 | 1901980.117 | 22587.079 | 8159.423 | 633586.414 | 206.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2689.4688 | 739955.1716
72 | Chicago | LargeOffice | 3 | 0 | 0 | 8331701.7825 | 8331701.7825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533117 | 710954.044 | 7945.7365 | 6356.5884 | 0 | 0 | 0
73 | LosAngeles | RetailStore | 3 | 0 | 0 | 935896.8056 | 935896.8056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22663 | 28354.124 | 175.104 | 140.0833 | 0 | 0 | 0
74 | Minneapolis | LargeHotel | 1 | 0 | 0 | 4616307.6539 | 4616307.6539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 445049 | 593508.341 | 13923.5543 | 11138.8435 | 0 | 0 | 0
75 | Miami | MidriseApartment | 2 | 24.13 | 2.672 | 834070.846 | 783288.3714 | -50782.4746 | 59758.5896 | 22596.4017 | -13620.2867 | 0.19877 | 6.2204 | 7.8473 | 2194.373 | 8587.931 | 30.965 | 0 | 126.446 | 0 | 0 | 0 | 176446 | 235304.815 | 0 | 0 | 0 | -1894.7271 | -8976.115
76 | LosAngeles | SecondarySchool | 2 | 549.904 | 11.327 | 6698122.0959 | 5519424.9568 | -1178697.1391 | 1260451.6978 | 244089.8992 | -162335.3406 | 1.9244 | 96.0685 | 75.9708 | 79328.595 | 21115.543 | 958.621 | 0 | 282.179 | 0 | 0 | 0 | 351337 | 468535.914 | 0 | 0 | 0 | -2100.1996 | -81754.5586
77 | Chicago | MidriseApartment | 3 | 0 | 0 | 492983.5625 | 492983.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25663 | 32107.483 | 1779.534 | 1423.6272 | 0 | 0 | 0
78 | Minneapolis | SecondarySchool | 4 | 1708.082 | 32.699 | 8976092.4916 | 4406321.5554 | -4569770.9362 | 3910069.1633 | 1152201.7337 | -1811903.5067 | 10.1321 | -326.359 | 400.0002 | 1755927.501 | 44586.963 | 9570.659 | 349868.652 | 393.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2625.1268 | 659701.773
79 | Miami | SecondarySchool | 2 | 371.038 | 7.767 | 8222574.8281 | 7392320.5526 | -830254.2755 | 850721.6125 | 52097.0292 | -31629.6922 | 0.49612 | 14.4511 | 19.5861 | 11460.344 | 13580.061 | 162.815 | 0 | 200.083 | 0 | 0 | 0 | 1735906 | 2314969.117 | 0 | 0 | 0 | -2191.7722 | -20467.337